## Slide 1
PALL - Project Trebuchet Recipe Builder Application

## Slide 2: Client - Pall Corporation
Pall Corporation is global leader in filtration, separation and purification .
Pall products are used in industries in Food and beverage, laboratory , Medical , industrial manufacturing , oil and gas etc
Industries is under constant pressure to reduce costs and improve quality and safety in a regulatory environment. Project Trebuchet – recipe builder aims to achieve this motive.

## Slide 3: Project- Batch Management
Batch Management software effectively manages batch operations found in the process industries
It provides guidance and monitoring to both recipe management and batch execution.
Batch Management software coordinates everything with the plant control systems, interfaces with the operators, and directs batch activity, material flow, and production data
Batch Management software helps manufacturers to improve yields through increased product quality and operational efficiency.
Automation of the batch processes delivers consistent quality to recipe specifications, maximizes asset utilization, helps eliminate paper records, and reduces batch release cycles.
Pall has developed Pall automation library designed and developed to be used for batch manufacturing
Palls Batch management system is called Wonderware® Batch Management™ .
Batch management system performs
Plant configuration , Train creation , Batch Validation , Recipe Creation , Recipe approval , Recipe versioning ,Batch Scheduling , Batch execution , Batch History and reports

## Slide 4: Recipe Builder
The Recipe Builder is a software application is an intuitive tool for the efficient creation and management of batch recipes to be produced on the plant, in accordance with the ANSI/ISA-88 model.
Benefits
  Provides ease of use with better UI and workflow steps
  The user (Scientist) creating the recipe need not know engineering work flow of WW batch management
  Web based application and can also be used for Offline recipe building
TCS should extend the architecture and develop unit operations module
Bulk Fill System
Direct Flow Filtration

## Slide 5: Project Scope – In Scope
TCS Scope of work
WW Intouch Runtime
WW Application Server
WW Historian Server
WW Batch Management
WW OI Server
PLC
Recipe Builder Application
WW System Platform
Existing Wonderware Applications
At present
WW Batch Management used to Edit master recipe and update
TCS to develop Recipe Builder Application to work with WW batch Management to edit and create new recipes

## Slide 6: High Level Process Flow
Lab Quality Result
Validate and approve recipe changes for production
Batch schedule with new recipe from Intouch runtime
Initialise and start batch production
Scientist create / modify recipe in 'Recipe Edit’ accessing Batch Management server
Existing Process
Proposed Process
Lab Quality Result
- Scientist copy of Existing Recipe
- Scientist create new / modify recipe in 'Recipe Builder' software in independent PC / laptop
Validate, approve recipe changes and push into batch management server
- Export Recipe file to WW Batch
Batch schedule with new recipe from Intouch runtime
Initialise and start batch production
Execution in WW Batch Management
In Recipe Builder
In WW Batch
In WW Batch

## Slide 7: Terminology
Term | Definition
Unit | A piece of equipment that processes or holds materials in a batch production plant eg mixers , reactor etc
Unit procedure | Defines a processing sequence of operations to be executed on the unit
Phase | The lowest level of processing step executed on the equipment; the execution of the phase can be customized through a fixed set of specific parameters
Operation | Logical set of phases
Train | Several physical units working together to manufacture a product
Recipe | Definition of the order of execution for the units defined in the train, to obtain the desired product

## Slide 8: Terminology
Key features
Recipe Management - Creation , Modifying ,Versioning ,Validation, Approval , Send to WW Batch management system
  Plant Model Editor
  Train Editor
  Unit operator editor
  Phase editor
  Process flow editor
  Rule Engine editor
Audit Trail Log Viewer
Recipe Diff viewer
Configuration – Plant , Recipe , Unit procedure , Rules
Roles and permissions for Admin , Engineer and Supervisor

## Slide 9: Architecture

## Slide 10: Use Case – Edit recipe in Offline Mode

## Slide 11: Use Case – Recipe Transfer

## Slide 12
Thank You